## Multiplication factors
Conductivity Temperature Compensation factor |  | Multiplication factor for P |  |  | Multiplication factor for K |  | Multiplication factor for OC |  |  | Multiplication factor for B |  |  | Multiplication factor for S |  |  | Multiplication factor for Zn |  |  | Multiplication factor for Fe |  |  | Multiplication factor for Mn |  |  | Multiplication factor for Cu
Temp (°C) | Factor | Concentration | Absorabance |  | Concentration | Absorabance | Concentration | Absorabance |  | Concentration | Absorabance |  | Concentration | Absorabance |  | Concentration | Absorabance |  | Concentration | Absorabance |  | Concentration | Absorabance |  | Concentration | Absorabance
3 | 1.709 | 1 | 0.27 | 3.704 |  |  | 0.042 | 0.003 | 0.14 | 0.4 | 0.037 | 10.8108 | 4 | 0.025 | 160 | 2 | 0.4143 | 4.827 | 5 | 0.182 | 27.473 | 2 | 0.1234 | 16.207 | 2 | 0.151 | 13.245
4 | 1.66 | 2 | 0.273 | 7.326 |  |  | 0.21 | 0.015 | 0.14 | 0.8 | 0.08 | 10 | 8 | 0.048 | 166.6667 | 4 | 0.5659 | 7.068 | 10 | 0.3252 | 30.75 | 4 | 0.2111 | 18.948 | 4 | 0.2486 | 16.09
5 | 1.613 | 3 | 0.273 | 10.989 |  |  | 0.42 | 0.044 | 0.095 | 1.2 | 0.132 | 9.0909 | 12 | 0.073 | 164.3836 | 6 | 0.6213 | 9.657 | 15 | 0.4013 | 37.379 | 6 | 0.2841 | 21.119 | 6 | 0.3404 | 17.626
6 | 1.569 | 4 | 0.277 | 14.44 |  |  | 0.63 | 0.047 | 0.134 | 1.6 | 0.142 | 11.2676 | 16 | 0.102 | 156.8627 | 8 | 0.6866 | 11.652 | 20 | 0.4865 | 41.11 | 8 | 0.3684 | 21.716 | 8 | 0.4758 | 16.814
7 | 1.528 | 5 | 0.279 | 17.921 |  |  | 0.084 | 0.058 | 0.014 | 2 | 0.185 | 10.8108 | 20 | 0.132 | 151.5152 | 10 | 0.7298 | 13.702 | 25 | 0.557 | 44.883 | 10 | 0.4621 | 21.64 | 10 | 0.535 | 18.692
8 | 1.488 | 6 | 0.284 | 21.127 |  |  | 1.05 | 0.075 | 0.14 | 2.4 | 0.197 | 12.1827 | [5 empty] | 9.381 |  |  | 36.319 |  |  | 19.926 |  |  | 16.493
9 | 1.448 | 7 | 0.288 | 24.306 |  |  | 1.26 | 0.082 | 0.154
10 | 1.411 | 8 | 0.292 | 27.397 |  |  | 1.47 | 0.097 | 0.152
11 | 1.375 | 9 | 0.321 | 28.037 |  |  | 1.68 | 0.131 | 0.128
12 | 1.341 | 10 | 0.326 | 30.675 |  |  | 1.89 | 0.134 | 0.141
13 | 1.309 |  |  | 18.592 |  |  | 2.1 | 0.151 | 0.139
14 | 1.277 | [7 empty] | 0.125 |  |  | 2.1388 |  |  | 43.25
15 | 1.247
16 | 1.218
17 | 1.189
18 | 1.163
18.2 | 1.157
18.4 | 1.152
18.6 | 1.147
18.8 | 1.142
19 | 1.136
19.2 | 1.131
19.4 | 1.127
19.6 | 1.122
19.8 | 1.117
20 | 1.112
20.2 | 1.107
20.4 | 1.102
20.6 | 1.097
20.8 | 1.092
21 | 1.087
21.2 | 1.082
21.4 | 1.078
21.6 | 1.073
21.8 | 1.068
22 | 1.064
22.2 | 1.06
22.4 | 1.055
22.6 | 1.051
22.8 | 1.047
23 | 1.043
23.2 | 1.038
23.4 | 1.034
23.6 | 1.029
23.8 | 1.025
24 | 1.02
24.2 | 1.016
24.4 | 1.012
24.6 | 1.008
24.8 | 1.004
25 | 1
25.2 | 0.996
25.4 | 0.992
25.6 | 0.988
25.8 | 0.983
26 | 0.979
26.2 | 0.975
26.4 | 0.971
26.6 | 0.967
26.8 | 0.964
27 | 0.96
27.2 | 0.956
27.4 | 0.953
27.6 | 0.95
27.8 | 0.947
28 | 0.943
28.2 | 0.94
28.4 | 0.936
28.6 | 0.932
28.8 | 0.929
29 | 0.925
29.2 | 0.921
29.4 | 0.918
29.6 | 0.914
29.8 | 0.911
30 | 0.907
30.2 | 0.904
30.4 | 0.901
30.6 | 0.897
30.8 | 0.894
31 | 0.89
31.2 | 0.887
31.4 | 0.884
31.6 | 0.88
31.8 | 0.877
32 | 0.873
32.2 | 0.87
32.4 | 0.867
32.6 | 0.864
32.8 | 0.861
33 | 0.858
34 | 0.843
35 | 0.829
36 | 0.815
37 | 0.801
38 | 0.788
39 | 0.775
40 | 0.763
41 | 0.75
42 | 0.739
43 | 0.727
44 | 0.716
45 | 0.705
46 | 0.694
47 | 0.683

## pH & EC
Sample No. | pH | Observed electrical Conductivity | Temperature | Compensation factor | Corrected Electrical Conductivity
1 | 6.78 | 0.15 | 27 | 0.96 | 0.14
2 | 6.85 | 0.19 | 27 | 0.96 | 0.18
3 | 6.71 | 0.37 | 27 | 0.96 | 0.36
4 | 6.66 | 0.23 | 27 | 0.96 | 0.22
5 | 6.99 | 0.29 | 27 | 0.96 | 0.28
6 | 6.71 | 0.23 | 27 | 0.96 | 0.22
7 | 6.92 | 0.41 | 27 | 0.96 | 0.39
8 | 6.66 | 0.36 | 27 | 0.96 | 0.35
9 | 6.91 | 0.22 | 27 | 0.96 | 0.21
10 | 7.05 | 0.45 | 27 | 0.96 | 0.43
11 | 7.02 | 0.25 | 27 | 0.96 | 0.24
12 | 6.89 | 0.18 | 27 | 0.96 | 0.17
13 | 6.77 | 0.15 | 27 | 0.96 | 0.14
14 | 6.64 | 0.22 | 27 | 0.96 | 0.21
15 | 6.7 | 0.31 | 27 | 0.96 | 0.3
16 | 6.75 | 0.24 | 27 | 0.96 | 0.23
17 | 6.89 | 0.29 | 27 | 0.96 | 0.28
18 | 6.6 | 0.2 | 27 | 0.96 | 0.19
19 | 6.79 | 0.27 | 27 | 0.96 | 0.26
20 | 6.89 | 0.22 | 27 | 0.96 | 0.21
21 | 6.71 | 0.29 | 27 | 0.96 | 0.28
22 | 6.77 | 0.19 | 27 | 0.96 | 0.18
23 | 6.73 | 0.27 | 27 | 0.96 | 0.26
24 | 6.67 | 0.23 | 27 | 0.96 | 0.22
25 | 6.81 | 0.23 | 27 | 0.96 | 0.22
26 | 6.94 | 0.29 | 27 | 0.96 | 0.28
27 | 6.95 | 0.21 | 27 | 0.96 | 0.2
28 | 6.78 | 0.3 | 27 | 0.96 | 0.29
29 | 6.83 | 0.22 | 27 | 0.96 | 0.21
30 | 6.98 | 0.34 | 27 | 0.96 | 0.33
31 | 6.71 | 0.7 | 27 | 0.96 | 0.67
32 | 6.46 | 0.28 | 27 | 0.96 | 0.27
33 | 6.58 | 0.27 | 27 | 0.96 | 0.26
34 | 6.52 | 0.32 | 27 | 0.96 | 0.31
35 | 6.84 | 0.24 | 27 | 0.96 | 0.23
36 | 6.56 | 0.22 | 27 | 0.96 | 0.21
37 | 6.42 | 0.21 | 27 | 0.96 | 0.2
38 | 6.45 | 0.23 | 27 | 0.96 | 0.22
39 | 6.59 | 0.22 | 27 | 0.96 | 0.21
40 | 6.87 | 0.21 | 27 | 0.96 | 0.2
41 | 6.88 | 0.32 | 27 | 0.96 | 0.31
42 | 6.98 | 0.33 | 27 | 0.96 | 0.32
43 | 6.75 | 0.18 | 27 | 0.96 | 0.17
44 | 6.41 | 0.18 | 27 | 0.96 | 0.17
45 | 6.66 | 0.25 | 27 | 0.96 | 0.24
46 | 6.73 | 0.31 | 27 | 0.96 | 0.3
47 | 6.75 | 0.24 | 27 | 0.96 | 0.23
48 | 6.84 | 0.31 | 27 | 0.96 | 0.3
49 | 6.88 | 0.29 | 27 | 0.96 | 0.28
50 | 6.38 | 0.24 | 27 | 0.96 | 0.23
51 | 6.93 | 0.18 | 27 | 0.96 | 0.17
52 | 6.9 | 0.28 | 27 | 0.96 | 0.27
53 | 6.44 | 0.12 | 27 | 0.96 | 0.12
54 | 7.4 | 0.13 | 27 | 0.96 | 0.12
55 | 7.58 | 0.34 | 27 | 0.96 | 0.33
56 | 6.56 | 0.12 | 27 | 0.96 | 0.12
57 | 3.22 | 0.42 | 27 | 0.96 | 0.4
58 | 6.56 | 0.17 | 27 | 0.96 | 0.16
59 | 7.02 | 0.18 | 27 | 0.96 | 0.17
60 | 4.36 | 0.27 | 27 | 0.96 | 0.26
61 | 7.02 | 0.15 | 27 | 0.96 | 0.14
62 | 3.92 | 0.37 | 27 | 0.96 | 0.36
63 | 7.55 | 0.13 | 27 | 0.96 | 0.12
64 | 7.06 | 0.26 | 27 | 0.96 | 0.25
65 | 6.81 | 0.54 | 27 | 0.96 | 0.52
66 | 6.69 | 0.28 | 27 | 0.96 | 0.27
67 | 6.48 | 0.37 | 27 | 0.96 | 0.36
68 | 6.71 | 0.29 | 27 | 0.96 | 0.28
69 | 8.46 | 0.11 | 27 | 0.96 | 0.11
70 | 6.99 | 0.26 | 27 | 0.96 | 0.25
71 | 6.9 | 0.27 | 27 | 0.96 | 0.26
72 | 7.26 | 0.15 | 27 | 0.96 | 0.14
73 | 7.81 | 0.13 | 27 | 0.96 | 0.12
74 | 6.81 | 0.35 | 27 | 0.96 | 0.34
75 | 6.51 | 0.22 | 27 | 0.96 | 0.21
76 | 6.61 | 0.17 | 27 | 0.96 | 0.16
77 | 5.23 | 1.5 | 27 | 0.96 | 1.44
78 | 6.53 | 0.23 | 27 | 0.96 | 0.22
79 | 5.44 | 0.31 | 27 | 0.96 | 0.3
80 | 5.72 | 0.67 | 27 | 0.96 | 0.64
81 | 6.43 | 0.11 | 27 | 0.96 | 0.11
82 | 5.67 | 0.29 | 27 | 0.96 | 0.28
83 | 6.65 | 0.11 | 27 | 0.96 | 0.11
84 | 6.93 | 0.49 | 27 | 0.96 | 0.47
85 | 6.63 | 0.15 | 27 | 0.96 | 0.14
86 | 6.86 | 0.23 | 27 | 0.96 | 0.22
87 | 7.17 | 0.16 | 27 | 0.96 | 0.15
88 | 7.33 | 0.41 | 27 | 0.96 | 0.39
89 | 6.91 | 0.21 | 27 | 0.96 | 0.2
90 | 6.81 | 0.22 | 27 | 0.96 | 0.21
91 | 6.78 | 0.17 | 27 | 0.96 | 0.16
92 | 6.83 | 0.17 | 27 | 0.96 | 0.16
93 | 6.17 | 0.14 | 27 | 0.96 | 0.13
94 | 6.56 | 0.15 | 27 | 0.96 | 0.14
95 | 6.98 | 0.14 | 27 | 0.96 | 0.13
96 | 6.95 | 0.23 | 27 | 0.96 | 0.22
97 | 7.36 | 0.24 | 27 | 0.96 | 0.23
98 | 6.97 | 0.15 | 27 | 0.96 | 0.14
99 | 6.63 | 0.13 | 27 | 0.96 | 0.12
100 | 6.82 | 0.15 | 27 | 0.96 | 0.14
101 | 7.31 | 0.19 | 27 | 0.96 | 0.18
102 | 6.88 | 0.21 | 27 | 0.96 | 0.2
103 | 6.75 | 0.19 | 27 | 0.96 | 0.18
104 | 9.34 | 0.4 | 27 | 0.96 | 0.38
105 | 6.77 | 0.21 | 27 | 0.96 | 0.2
106 | 6.87 | 0.2 | 27 | 0.96 | 0.19
107 | 6.84 | 0.17 | 27 | 0.96 | 0.16
108 | 6.86 | 0.2 | 27 | 0.96 | 0.19
109 | 7.36 | 0.21 | 27 | 0.96 | 0.2
110 | 4.09 | 0.27 | 27 | 0.96 | 0.26
111 | 7.27 | 0.26 | 27 | 0.96 | 0.25
112 | 7.04 | 0.18 | 27 | 0.96 | 0.17
113 | 6.88 | 0.17 | 27 | 0.96 | 0.16
114 | 7.01 | 0.16 | 27 | 0.96 | 0.15
115 | 6.54 | 0.23 | 27 | 0.96 | 0.22
116 | 7.43 | 0.3 | 27 | 0.96 | 0.29
117 | 7.04 | 0.15 | 27 | 0.96 | 0.14
118 | 7.4 | 0.31 | 27 | 0.96 | 0.3
119 | 7.29 | 0.19 | 27 | 0.96 | 0.18
120 | 6.47 | 0.24 | 27 | 0.96 | 0.23
121 | 6.69 | 0.24 | 27 | 0.96 | 0.23
122 | 7.15 | 0.2 | 27 | 0.96 | 0.19
123 | 6.96 | 0.17 | 27 | 0.96 | 0.16
124 | 9.46 | 0.81 | 27 | 0.96 | 0.78
125 | 7.95 | 0.24 | 27 | 0.96 | 0.23

## NPK
| Nitrogen |  |  | Phosphorus |  |  | Potassium
Sample No. | Burette Reading (A) | Blank Reading (B) | Available N (kg/hactor) | Absorbance | Concentration (ppm) | Available P (kg/hactor) | Absorbance | Concentration (ppm) | Available K (kg/hactor)
1 | 1.4 | 0.2 | 250.88 | 0.13 | 2.417 | 5.41 |  | 2.4 | 26.88
2 | 1.3 | 0.2 | 229.97 | 0.158 | 2.9375 | 6.58 |  | 4.4 | 49.28
3 | 1.2 | 0.2 | 209.07 | 0.127 | 2.3612 | 5.29 |  | 4.5 | 50.4
4 | 1.6 | 0.2 | 292.69 | 0.15 | 2.7888 | 6.25 |  | 6 | 67.2
5 | 1.2 | 0.2 | 209.07 | 0.135 | 2.5099 | 5.62 |  | 6.2 | 69.44
6 | 1.1 | 0.2 | 188.16 | 0.14 | 2.6029 | 5.83 |  | 5.5 | 61.6
7 | 1.2 | 0.2 | 209.07 | 0.106 | 1.9708 | 4.41 |  | 4.2 | 47.04
8 | 1 | 0.2 | 167.25 | 0.175 | 3.2536 | 7.29 |  | 4.3 | 48.16
9 | 1.2 | 0.2 | 209.07 | 0.11 | 2.0451 | 4.58 |  | 1.2 | 13.44
10 | 1.2 | 0.2 | 209.07 | 0.138 | 2.5657 | 5.75 |  | 1.9 | 21.28
11 | 1.2 | 0.2 | 209.07 | 0.129 | 2.3984 | 5.37 |  | 2.2 | 24.64
12 | 1.3 | 0.2 | 229.97 | 0.137 | 2.5471 | 5.71 |  | 2.6 | 29.12
13 | 1.3 | 0.2 | 229.97 | 0.149 | 2.7702 | 6.21 |  | 3.9 | 43.68
14 | 1.2 | 0.2 | 209.07 | 0.159 | 2.9561 | 6.62 |  | 3.6 | 40.32
15 | 1.1 | 0.2 | 188.16 | 0.147 | 2.733 | 6.12 |  | 3.3 | 36.96
16 | 1.1 | 0.2 | 188.16 | 0.154 | 2.8632 | 6.41 |  | 3.4 | 38.08
17 | 1.3 | 0.2 | 229.97 | 0.151 | 2.8074 | 6.29 |  | 2.5 | 28
18 | 1.2 | 0.2 | 209.07 | 0.159 | 2.9561 | 6.62 |  | 2.7 | 30.24
19 | 1.4 | 0.2 | 250.88 | 0.145 | 2.6958 | 6.04 |  | 1.9 | 21.28
20 | 1 | 0.2 | 167.25 | 0.124 | 2.3054 | 5.16 |  | 2.9 | 32.48
21 | 1.2 | 0.2 | 209.07 | 0.135 | 2.5099 | 5.62 |  | 3.6 | 40.32
22 | 1.2 | 0.2 | 209.07 | 0.111 | 2.0637 | 4.62 |  | 4.2 | 47.04
23 | 1.2 | 0.2 | 209.07 | 0.104 | 1.9336 | 4.33 |  | 5.9 | 66.08
24 | 1.3 | 0.2 | 229.97 | 0.114 | 2.1195 | 4.75 |  | 5.1 | 57.12
25 | 1.5 | 0.2 | 271.79 | 0.153 | 2.8446 | 6.37 |  | 5.2 | 58.24
26 | 1.2 | 0.2 | 209.07 | 0.141 | 2.6215 | 5.87 |  | 3.2 | 35.84
27 | 1.2 | 0.2 | 209.07 | 0.102 | 1.8964 | 4.25 |  | 3.1 | 34.72
28 | 1.1 | 0.2 | 188.16 | 0.132 | 2.4541 | 5.5 |  | 3.2 | 35.84
29 | 1.4 | 0.2 | 250.88 | 0.151 | 2.8074 | 6.29 |  | 3.3 | 36.96
30 | 1.1 | 0.2 | 188.16 | 0.124 | 2.3054 | 5.16 |  | 3.4 | 38.08
31 | 0.9 | 0.2 | 146.35 | 0.122 | 2.2682 | 5.08 |  | 3.5 | 39.2
32 | 1.2 | 0.2 | 209.07 | 0.132 | 2.4541 | 5.5 |  | 3.7 | 41.44
33 | 1.2 | 0.2 | 209.07 | 0.132 | 2.4541 | 5.5 |  | 3.8 | 42.56
34 | 1.1 | 0.2 | 188.16 | 0.128 | 2.3798 | 5.33 |  | 3.9 | 43.68
35 | 1.4 | 0.2 | 250.88 | 0.15 | 2.7888 | 6.25 |  | 3.7 | 41.44
36 | 1 | 0.2 | 167.25 | 0.123 | 2.2868 | 5.12 |  | 3.8 | 42.56
37 | 1 | 0.2 | 167.25 | 0.138 | 2.5657 | 5.75 |  | 3.9 | 43.68
38 | 1 | 0.2 | 167.25 | 0.16 | 2.9747 | 6.66 |  | 4 | 44.8
39 | 1.3 | 0.2 | 229.97 | 0.184 | 3.4209 | 7.66 |  | 4.5 | 50.4
40 | 1.2 | 0.2 | 209.07 | 0.134 | 2.4913 | 5.58 |  | 4.1 | 45.92
41 | 1.1 | 0.2 | 188.16 | 0.142 | 2.6401 | 5.91 |  | 4.1 | 45.92
42 | 1.2 | 0.2 | 209.07 | 0.131 | 2.4356 | 5.46 |  | 4.6 | 51.52
43 | 1.3 | 0.2 | 229.97 | 0.103 | 1.915 | 4.29 |  | 2.8 | 31.36
44 | 1 | 0.2 | 167.25 | 0.128 | 2.3798 | 5.33 |  | 2.9 | 32.48
45 | 0.9 | 0.2 | 146.35 | 0.138 | 2.5657 | 5.75 |  | 1.5 | 16.8
46 | 1.2 | 0.2 | 209.07 | 0.129 | 2.3984 | 5.37 |  | 2.6 | 29.12
47 | 1.1 | 0.2 | 188.16 | 0.121 | 2.2496 | 5.04 |  | 3.2 | 35.84
48 | 1.1 | 0.2 | 188.16 | 0.114 | 2.1195 | 4.75 |  | 1.7 | 19.04
49 | 1.2 | 0.2 | 209.07 | 0.134 | 2.4913 | 5.58 |  | 3.3 | 36.96
50 | 1.2 | 0.2 | 209.07 | 0.117 | 2.1753 | 4.87 |  | 1.9 | 21.28
51 | 1.3 | 0.2 | 229.97 | 0.084 | 1.5617 | 3.5 |  | 3.8 | 42.56
52 | 1.3 | 0.2 | 229.97 | 0.077 | 1.4316 | 3.21 |  | 2.2 | 24.64
53 | 1.2 | 0.2 | 209.07 | 0.077 | 1.4316 | 3.21 |  | 2.6 | 29.12
54 | 1.3 | 0.2 | 229.97 | 0.024 | 0.44621 | 1 |  | 2.7 | 30.24
55 | 1.2 | 0.2 | 209.07 | 0.043 | 0.79946 | 1.79 |  | 4.9 | 54.88
56 | 1.4 | 0.2 | 250.88 | 0.012 | 0.2231 | 0.5 |  | 5.6 | 62.72
57 | 1.1 | 0.2 | 188.16 | 0.089 | 1.6547 | 3.71 |  | 6.1 | 68.32
58 | 0.8 | 0.2 | 125.44 | 0.083 | 1.5431 | 3.46 |  | 1.8 | 20.16
59 | 0.5 | 0.2 | 62.72 | 0.092 | 1.7105 | 3.83 |  | 6.8 | 76.16
60 | 0.6 | 0.2 | 83.63 | 0.077 | 1.4316 | 3.21 |  | 1.7 | 19.04
61 | 1.4 | 0.2 | 250.88 | 0.087 | 1.6175 | 3.62 |  | 6.8 | 76.16
62 | 1.4 | 0.2 | 250.88 | 0.08 | 1.4874 | 3.33 |  | 3.9 | 43.68
63 | 1.2 | 0.2 | 209.07 | 0.014 | 0.26029 | 0.58 |  | 4.8 | 53.76
64 | 1.2 | 0.2 | 209.07 | 0.084 | 1.5617 | 3.5 |  | 5.7 | 63.84
65 | 1.2 | 0.2 | 209.07 | 0.09 | 1.6733 | 3.75 |  | 6.2 | 69.44
66 | 1.2 | 0.2 | 209.07 | 0.082 | 1.5245 | 3.41 |  | 1.5 | 16.8
67 | 1.2 | 0.2 | 209.07 | 0.088 | 1.6361 | 3.66 |  | 2.5 | 28
68 | 0.5 | 0.2 | 62.72 | 0.09 | 1.6733 | 3.75 |  | 2.9 | 32.48
69 | 1.2 | 0.2 | 209.07 | 0.09 | 1.6733 | 3.75 |  | 3.6 | 40.32
70 | 1.1 | 0.2 | 188.16 | 0.076 | 1.413 | 3.17 |  | 4.1 | 45.92
71 | 1.2 | 0.2 | 209.07 | 0.08 | 1.4874 | 3.33 |  | 3.3 | 36.96
72 | 1.2 | 0.2 | 209.07 | 0.029 | 0.53917 | 1.21 |  | 4.4 | 49.28
73 | 1.2 | 0.2 | 209.07 | 0.045 | 0.83664 | 1.87 |  | 5.8 | 64.96
74 | 1.2 | 0.2 | 209.07 | 0.084 | 1.5617 | 3.5 |  | 2.9 | 32.48
75 | 1.2 | 0.2 | 209.07 | 0.098 | 1.822 | 4.08 |  | 3.6 | 40.32
76 | 1.2 | 0.2 | 209.07 | 0.086 | 1.5989 | 3.58 |  | 2 | 22.4
77 | 1.2 | 0.2 | 209.07 | 0.083 | 1.5431 | 3.46 |  | 2.4 | 26.88
78 | 1.2 | 0.2 | 209.07 | 0.075 | 1.3944 | 3.12 |  | 3.7 | 41.44
79 | 1.2 | 0.2 | 209.07 | 0.011 | 0.20451 | 0.46 |  | 1.8 | 20.16
80 | 1.2 | 0.2 | 209.07 | 0.086 | 1.5989 | 3.58 |  | 3.5 | 39.2
81 | 1.2 | 0.2 | 209.07 | 0.003 | 0.055776 | 0.12 |  | 2.6 | 29.12
82 | 1.2 | 0.2 | 209.07 | 0.085 | 1.5803 | 3.54 |  | 2.7 | 30.24
83 | 1.2 | 0.2 | 209.07 | 0.016 | 0.29747 | 0.67 |  | 4.2 | 47.04
84 | 1.3 | 0.2 | 229.97 | 0.087 | 1.6175 | 3.62 |  | 4.6 | 51.52
85 | 1.1 | 0.2 | 188.16 | 0.083 | 1.5431 | 3.46 |  | 1.1 | 12.32
86 | 1 | 0.2 | 167.25 | 0.342 | 6.3585 | 14.24 |  | 1.8 | 20.16
87 | 1.3 | 0.2 | 229.97 | 0.116 | 2.1567 | 4.83 |  | 2.8 | 31.36
88 | 1.1 | 0.2 | 188.16 | 0.087 | 1.6175 | 3.62 |  | 2.2 | 24.64
89 | 1.1 | 0.2 | 188.16 | 0.363 | 6.7489 | 15.12 |  | 3.4 | 38.08
90 | 1.4 | 0.2 | 250.88 | 0.018 | 0.33466 | 0.75 |  | 3.8 | 42.56
91 | 1.4 | 0.2 | 250.88 | 0.032 | 0.59494 | 1.33 |  | 4.9 | 54.88
92 | 1.4 | 0.2 | 250.88 | 0.147 | 2.733 | 6.12 |  | 4.4 | 49.28
93 | 1.2 | 0.2 | 209.07 | 0.152 | 2.826 | 6.33 |  | 2.9 | 32.48
94 | 1 | 0.2 | 167.25 | 0.126 | 2.3426 | 5.25 |  | 3.5 | 39.2
95 | 1 | 0.2 | 167.25 | 0.335 | 6.2283 | 13.95 |  | 3.7 | 41.44
96 | 1 | 0.2 | 167.25 | 0.326 | 6.061 | 13.58 |  | 1.9 | 21.28
97 | 1.1 | 0.2 | 188.16 | 0.399 | 7.4182 | 16.62 |  | 5.6 | 62.72
98 | 1.2 | 0.2 | 209.07 | 0.095 | 1.7662 | 3.96 |  | 4.1 | 45.92
99 | 1.2 | 0.2 | 209.07 | 0.106 | 1.9708 | 4.41 |  | 5.3 | 59.36
100 | 1.3 | 0.2 | 229.97 | 0.055 | 1.0226 | 2.29 |  | 2.2 | 24.64
101 | 1.3 | 0.2 | 229.97 | 0.098 | 1.822 | 4.08 |  | 3.3 | 36.96
102 | 1.2 | 0.2 | 209.07 | 0.043 | 0.79946 | 1.79 |  | 5.1 | 57.12
103 | 1.2 | 0.2 | 209.07 | 0.025 | 0.4648 | 1.04 |  | 2.1 | 23.52
104 | 1.1 | 0.2 | 188.16 | 0.373 | 6.9348 | 15.53 |  | 2.4 | 26.88
105 | 1.3 | 0.2 | 229.97 | 0.45 | 8.3664 | 18.74 |  | 4.2 | 47.04
106 | 1.2 | 0.2 | 209.07 | 0.126 | 2.3426 | 5.25 |  | 3.3 | 36.96
107 | 1.1 | 0.2 | 188.16 | 0.135 | 2.5099 | 5.62 |  | 3.4 | 38.08
108 | 1.3 | 0.2 | 229.97 | 0.129 | 2.3984 | 5.37 |  | 5.4 | 60.48
109 | 1 | 0.2 | 167.25 | 0.405 | 7.5298 | 16.87 |  | 5.5 | 61.6
110 | 1.3 | 0.2 | 229.97 | 0.104 | 1.9336 | 4.33 |  | 4.6 | 51.52
111 | 1.3 | 0.2 | 229.97 | 0.096 | 1.7848 | 4 |  | 3.8 | 42.56
112 | 1.2 | 0.2 | 209.07 | 0.086 | 1.5989 | 3.58 |  | 6.2 | 69.44
113 | 0.9 | 0.2 | 146.35 | 0.14 | 2.6029 | 5.83 |  | 1.9 | 21.28
114 | 1.3 | 0.2 | 229.97 | 0.084 | 1.5617 | 3.5 |  | 2.9 | 32.48
115 | 1.2 | 0.2 | 209.07 | 0.097 | 1.8034 | 4.04 |  | 3.2 | 35.84
116 | 1.2 | 0.2 | 209.07 | 0.123 | 2.2868 | 5.12 |  | 3.9 | 43.68
117 | 1.1 | 0.2 | 188.16 | 0.124 | 2.3054 | 5.16 |  | 4.4 | 49.28
118 | 1.3 | 0.2 | 229.97 | 0.147 | 2.733 | 6.12 |  | 2.7 | 30.24
119 | 1.3 | 0.2 | 229.97 | 0.111 | 2.0637 | 4.62 |  | 3.1 | 34.72
120 | 1.2 | 0.2 | 209.07 | 0.124 | 2.3054 | 5.16 |  | 3.9 | 43.68
121 | 1.2 | 0.2 | 209.07 | 0.132 | 2.4541 | 5.5 |  | 4 | 44.8
122 | 1.3 | 0.2 | 229.97 | 0.119 | 2.2124 | 4.96 |  | 4.1 | 45.92
123 | 0.9 | 0.2 | 146.35 | 0.282 | 5.2429 | 11.74 |  | 3.6 | 40.32
124 | 1.3 | 0.2 | 229.97 | 0.133 | 2.4727 | 5.54 |  | 3.4 | 38.08
125 | 1.2 | 0.2 | 209.07 | 0.342 | 6.3585 | 14.24 |  | 3.5 | 39.2

## OC, B, S
| OC |  |  | B |  |  | S
Sample No. | Absorbance | % OC from graph factor | % OC | Absorbance | Concentration (ppm) | Available B (mg/Kg) | Absorbance | Concentration (ppm) | Available S (mg/Kg)
1 | 0.036 | 0.01 | 0.1 | 0.47 | 1.01 | 2.53 | 0.018 | 0.78 | 9.75
2 | 0.028 | 0.01 | 0.1 | 0.168 | 0.36 | 0.9 | 0.029 | 1.25 | 15.63
3 | 0.028 | 0.01 | 0.1 | 0.672 | 1.44 | 3.6 | 0.024 | 1.04 | 13
4 | 0.013 | 0.01 | 0.1 | 0.241 | 0.52 | 1.3 | 0.014 | 0.61 | 7.63
5 | 0.08 | 0.01 | 0.1 | 0.064 | 0.14 | 0.35 | 0.018 | 0.78 | 9.75
6 | 0.065 | 0.01 | 0.1 | 0.278 | 0.59 | 1.48 | 0.015 | 0.65 | 8.13
7 | 0.028 | 0.01 | 0.1 | 0.279 | 0.6 | 1.5 | 0.008 | 0.35 | 4.38
8 | 0.028 | 0.01 | 0.1 | 0.287 | 0.61 | 1.53 | 0.014 | 0.61 | 7.63
9 | 0.006 | 0.01 | 0.1 | 0.263 | 0.56 | 1.4 | 0.009 | 0.39 | 4.88
10 | 0.021 | 0.01 | 0.1 | 0.691 | 1.48 | 3.7 | 0.012 | 0.52 | 6.5
11 | 0.031 | 0.01 | 0.1 | 0.047 | 0.1 | 0.25 | 0.023 | 0.99 | 12.38
12 | 0.018 | 0.01 | 0.1 | 0.261 | 0.56 | 1.4 | 0.015 | 0.65 | 8.13
13 | 0.006 | 0.01 | 0.1 | 0.286 | 0.61 | 1.53 | 0.026 | 1.12 | 14
14 | 0.02 | 0.01 | 0.1 | 0.214 | 0.46 | 1.15 | 0.021 | 0.91 | 11.38
15 | 0.028 | 0.01 | 0.1 | 0.146 | 0.31 | 0.78 | 0.019 | 0.82 | 10.25
16 | 0.024 | 0.01 | 0.1 | 0.187 | 0.4 | 1 | 0.014 | 0.61 | 7.63
17 | 0.032 | 0.01 | 0.1 | 0.248 | 0.53 | 1.33 | 0.008 | 0.35 | 4.38
18 | 0.029 | 0.01 | 0.1 | 0.268 | 0.57 | 1.43 | 0.005 | 0.22 | 2.75
19 | 0.029 | 0.01 | 0.1 | 0.345 | 0.74 | 1.85 | 0.014 | 0.61 | 7.63
20 | 0.016 | 0.01 | 0.1 | 0.256 | 0.55 | 1.38 | 0.025 | 1.08 | 13.5
21 | 0.052 | 0.01 | 0.1 | 0.729 | 1.56 | 3.9 | 0.014 | 0.61 | 7.63
22 | 0.014 | 0.01 | 0.1 | 0.428 | 0.92 | 2.3 | 0.025 | 1.08 | 13.5
23 | 0.012 | 0.01 | 0.1 | 0.308 | 0.66 | 1.65 | 0.024 | 1.04 | 13
24 | 0.01 | 0.01 | 0.1 | 0.255 | 0.55 | 1.38 | 0.014 | 0.61 | 7.63
25 | 0.015 | 0.01 | 0.1 | 0.264 | 0.56 | 1.4 | 0.017 | 0.74 | 9.25
26 | 0.014 | 0.01 | 0.1 | 0.275 | 0.59 | 1.48 | 0.012 | 0.52 | 6.5
27 | 0.02 | 0.01 | 0.1 | 0.284 | 0.61 | 1.53 | 0.013 | 0.56 | 7
28 | 0.019 | 0.01 | 0.1 | 0.345 | 0.74 | 1.85 | 0.018 | 0.78 | 9.75
29 | 0.006 | 0.01 | 0.1 | 0.276 | 0.59 | 1.48 | 0.021 | 0.91 | 11.38
30 | 0.007 | 0.01 | 0.1 | 0.147 | 0.31 | 0.78 | 0.017 | 0.74 | 9.25
31 | 0.031 | 0.01 | 0.1 | 0.266 | 0.57 | 1.43 | 0.022 | 0.95 | 11.88
32 | 0.021 | 0.01 | 0.1 | 0.279 | 0.6 | 1.5 | 0.024 | 1.04 | 13
33 | 0.04 | 0.01 | 0.1 | 0.256 | 0.55 | 1.38 | 0.014 | 0.61 | 7.63
34 | 0.018 | 0.01 | 0.1 | 0.261 | 0.56 | 1.4 | 0.014 | 0.61 | 7.63
35 | 0.01 | 0.01 | 0.1 | 0.279 | 0.6 | 1.5 | 0.03 | 1.3 | 16.25
36 | 0.025 | 0.01 | 0.1 | 0.278 | 0.59 | 1.48 | 0.014 | 0.61 | 7.63
37 | 0.047 | 0.01 | 0.1 | 0.322 | 0.69 | 1.73 | 0.014 | 0.61 | 7.63
38 | 0.007 | 0.01 | 0.1 | 0.238 | 0.51 | 1.28 | 0.025 | 1.08 | 13.5
39 | 0.025 | 0.01 | 0.1 | 0.238 | 0.51 | 1.28 | 0.018 | 0.78 | 9.75
40 | 0.026 | 0.01 | 0.1 | 0.266 | 0.57 | 1.43 | 0.007 | 0.3 | 3.75
41 | 0.017 | 0.01 | 0.1 | 0.269 | 0.58 | 1.45 | 0.004 | 0.17 | 2.13
42 | 0.01 | 0.01 | 0.1 | 0.254 | 0.54 | 1.35 | 0.005 | 0.22 | 2.75
43 | 0.012 | 0.01 | 0.1 | 0.264 | 0.56 | 1.4 | 0.004 | 0.17 | 2.13
44 | 0.019 | 0.01 | 0.1 | 0.311 | 0.67 | 1.68 | 0.002 | 0.09 | 1.13
45 | 0.031 | 0.01 | 0.1 | 0.349 | 0.75 | 1.88 | 0.004 | 0.17 | 2.13
46 | 0.006 | 0.01 | 0.1 | 0.233 | 0.5 | 1.25 | 0.018 | 0.78 | 9.75
47 | 0.025 | 0.01 | 0.1 | 0.251 | 0.54 | 1.35 | 0.012 | 0.52 | 6.5
48 | 0.052 | 0.01 | 0.1 | 0.27 | 0.58 | 1.45 | 0.013 | 0.56 | 7
49 | 0.026 | 0.01 | 0.1 | 0.421 | 0.9 | 2.25 | 0.011 | 0.48 | 6
50 | 0.003 | 0.01 | 0.1 | 0.247 | 0.53 | 1.33 | 0.015 | 0.65 | 8.13
51 | 0.077 | 0.01 | 0.1 | 0.397 | 0.85 | 2.13 | 0.016 | 0.69 | 8.63
52 | 0.055 | 0.01 | 0.1 | 0.861 | 1.84 | 4.6 | 0.018 | 0.78 | 9.75
53 | 0.067 | 0.01 | 0.1 | 0.01 | 0.02 | 0.05 | 0.019 | 0.82 | 10.25
54 | 0.299 | 0.04 | 0.4 | 0.01 | 0.02 | 0.05 | 0.024 | 1.04 | 13
55 | 0.175 | 0.03 | 0.3 | 0.468 | 1 | 2.5 | 0.025 | 1.08 | 13.5
56 | 0.133 | 0.02 | 0.2 | 0.148 | 0.32 | 0.8 | 0.017 | 0.74 | 9.25
57 | 0.122 | 0.02 | 0.2 | 0.501 | 1.07 | 2.68 | 0.026 | 1.12 | 14
58 | 0.151 | 0.02 | 0.2 | 0.275 | 0.59 | 1.48 | 0.018 | 0.78 | 9.75
59 | 0.079 | 0.01 | 0.1 | 0.481 | 1.03 | 2.58 | 0.025 | 1.08 | 13.5
60 | 0.05 | 0.01 | 0.1 | 0.783 | 1.67 | 4.18 | 0.011 | 0.48 | 6
61 | 0.042 | 0.01 | 0.1 | 0.661 | 1.41 | 3.53 | 0.024 | 1.04 | 13
62 | 0.069 | 0.01 | 0.1 | 0.727 | 1.55 | 3.88 | 0.018 | 0.78 | 9.75
63 | 0.068 | 0.01 | 0.1 | 0.259 | 0.55 | 1.38 | 0.019 | 0.82 | 10.25
64 | 0.061 | 0.01 | 0.1 | 0.79 | 1.69 | 4.23 | 0.018 | 0.78 | 9.75
65 | 0.075 | 0.01 | 0.1 | 0.463 | 0.99 | 2.48 | 0.018 | 0.78 | 9.75
66 | 0.627 | 0.08 | 0.8 | 0.314 | 0.67 | 1.68 | 0.016 | 0.69 | 8.63
67 | 0.09 | 0.02 | 0.2 | 0.451 | 0.96 | 2.4 | 0.016 | 0.69 | 8.63
68 | 0.098 | 0.02 | 0.2 | 0.438 | 0.94 | 2.35 | 0.016 | 0.69 | 8.63
69 | 0.072 | 0.01 | 0.1 | 0.261 | 0.56 | 1.4 | 0.016 | 0.69 | 8.63
70 | 0.051 | 0.01 | 0.1 | 0.696 | 1.49 | 3.73 | 0.017 | 0.74 | 9.25
71 | 0.045 | 0.01 | 0.1 | 0.322 | 0.69 | 1.73 | 0.019 | 0.82 | 10.25
72 | 0.339 | 0.05 | 0.5 | 0.266 | 0.57 | 1.43 | 0.024 | 1.04 | 13
73 | 0.123 | 0.02 | 0.2 | 0.138 | 0.3 | 0.75 | 0.022 | 0.95 | 11.88
74 | 0.08 | 0.01 | 0.1 | 0.427 | 0.91 | 2.28 | 0.021 | 0.91 | 11.38
75 | 0.058 | 0.01 | 0.1 | 0.459 | 0.98 | 2.45 | 0.008 | 0.35 | 4.38
76 | 0.103 | 0.02 | 0.2 | 0.247 | 0.53 | 1.33 | 0.015 | 0.65 | 8.13
77 | 0.082 | 0.02 | 0.2 | 0.484 | 1.04 | 2.6 | 0.012 | 0.52 | 6.5
78 | 0.322 | 0.05 | 0.5 | 0.25 | 0.53 | 1.33 | 0.014 | 0.61 | 7.63
79 | 0.526 | 0.07 | 0.7 | 0.265 | 0.57 | 1.43 | 0.019 | 0.82 | 10.25
80 | 0.088 | 0.02 | 0.2 | 0.496 | 1.06 | 2.65 | 0.023 | 0.99 | 12.38
81 | 0.043 | 0.01 | 0.1 | 0.561 | 1.2 | 3 | 0.024 | 1.04 | 13
82 | 0.195 | 0.03 | 0.3 | 0.439 | 0.94 | 2.35 | 0.009 | 0.39 | 4.88
83 | 0.169 | 0.03 | 0.3 | 0.194 | 0.41 | 1.03 | 0.01 | 0.43 | 5.38
84 | 0.333 | 0.05 | 0.5 | 0.462 | 0.99 | 2.48 | 0.011 | 0.48 | 6
85 | 0.229 | 0.03 | 0.3 | 0.279 | 0.6 | 1.5 | 0.015 | 0.65 | 8.13
86 | 0.077 | 0.01 | 0.1 | 0.464 | 0.99 | 2.48 | 0.002 | 0.09 | 1.13
87 | 0.058 | 0.01 | 0.1 | 0.524 | 1.12 | 2.8 | 0.008 | 0.35 | 4.38
88 | 0.045 | 0.01 | 0.1 | 0.397 | 0.85 | 2.13 | 0.024 | 1.04 | 13
89 | 0.032 | 0.01 | 0.1 | 0.569 | 1.22 | 3.05 | 0.016 | 0.69 | 8.63
90 | 0.027 | 0.01 | 0.1 | 0.416 | 0.89 | 2.23 | 0.018 | 0.78 | 9.75
91 | 0.033 | 0.01 | 0.1 | 0.384 | 0.82 | 2.05 | 0.025 | 1.08 | 13.5
92 | 0.044 | 0.01 | 0.1 | 0.621 | 1.33 | 3.33 | 0.014 | 0.61 | 7.63
93 | 0.064 | 0.01 | 0.1 | 0.448 | 0.96 | 2.4 | 0.015 | 0.65 | 8.13
94 | 0.058 | 0.01 | 0.1 | 0.396 | 0.85 | 2.13 | 0.016 | 0.69 | 8.63
95 | 0.063 | 0.01 | 0.1 | 0.615 | 1.32 | 3.3 | 0.015 | 0.65 | 8.13
96 | 0.039 | 0.01 | 0.1 | 0.431 | 0.92 | 2.3 | 0.014 | 0.61 | 7.63
97 | 0.075 | 0.01 | 0.1 | 0.493 | 1.05 | 2.63 | 0.016 | 0.69 | 8.63
98 | 0.031 | 0.01 | 0.1 | 0.472 | 1.01 | 2.53 | 0.015 | 0.65 | 8.13
99 | 0.062 | 0.01 | 0.1 | 0.346 | 0.74 | 1.85 | 0.016 | 0.69 | 8.63
100 | 0.041 | 0.01 | 0.1 | 0.368 | 0.79 | 1.98 | 0.017 | 0.74 | 9.25
101 | 0.051 | 0.01 | 0.1 | 0.437 | 0.93 | 2.33 | 0.017 | 0.74 | 9.25
102 | 0.038 | 0.01 | 0.1 | 0.433 | 0.93 | 2.33 | 0.019 | 0.82 | 10.25
103 | 0.034 | 0.01 | 0.1 | 0.379 | 0.81 | 2.03 | 0.016 | 0.69 | 8.63
104 | 0.074 | 0.01 | 0.1 | 0.556 | 1.19 | 2.98 | 0.024 | 1.04 | 13
105 | 0.04 | 0.01 | 0.1 | 0.365 | 0.78 | 1.95 | 0.024 | 1.04 | 13
106 | 0.073 | 0.01 | 0.1 | 0.371 | 0.79 | 1.98 | 0.021 | 0.91 | 11.38
107 | 0.037 | 0.01 | 0.1 | 0.496 | 1.06 | 2.65 | 0.014 | 0.61 | 7.63
108 | 0.04 | 0.01 | 0.1 | 0.458 | 0.98 | 2.45 | 0.015 | 0.65 | 8.13
109 | 0.084 | 0.02 | 0.2 | 0.451 | 0.96 | 2.4 | 0.012 | 0.52 | 6.5
110 | 0.046 | 0.01 | 0.1 | 0.424 | 0.91 | 2.28 | 0.015 | 0.65 | 8.13
111 | 0.047 | 0.01 | 0.1 | 0.443 | 0.95 | 2.38 | 0.016 | 0.69 | 8.63
112 | 0.048 | 0.01 | 0.1 | 0.519 | 1.11 | 2.78 | 0.014 | 0.61 | 7.63
113 | 0.038 | 0.01 | 0.1 | 0.268 | 0.57 | 1.43 | 0.016 | 0.69 | 8.63
114 | 0.046 | 0.01 | 0.1 | 0.423 | 0.9 | 2.25 | 0.009 | 0.39 | 4.88
115 | 0.057 | 0.01 | 0.1 | 0.688 | 1.47 | 3.68 | 0.008 | 0.35 | 4.38
116 | 0.068 | 0.01 | 0.1 | 0.566 | 1.21 | 3.03 | 0.014 | 0.61 | 7.63
117 | 0.042 | 0.01 | 0.1 | 0.567 | 1.21 | 3.03 | 0.014 | 0.61 | 7.63
118 | 0.043 | 0.01 | 0.1 | 0.48 | 1.03 | 2.58 | 0.016 | 0.69 | 8.63
119 | 0.013 | 0.01 | 0.1 | 0.354 | 0.76 | 1.9 | 0.019 | 0.82 | 10.25
120 | 0.054 | 0.01 | 0.1 | 0.445 | 0.95 | 2.38 | 0.021 | 0.91 | 11.38
121 | 0.032 | 0.01 | 0.1 | 0.372 | 0.8 | 2 | 0.02 | 0.87 | 10.88
122 | 0.045 | 0.01 | 0.1 | 0.417 | 0.89 | 2.23 | 0.023 | 0.99 | 12.38
123 | 0.087 | 0.02 | 0.2 | 0.406 | 0.87 | 2.18 | 0.014 | 0.61 | 7.63
124 | 0.049 | 0.01 | 0.1 | 0.417 | 0.89 | 2.23 | 0.015 | 0.65 | 8.13
125 | 0.092 | 0.02 | 0.2 | 0.412 | 0.88 | 2.2 | 0.018 | 0.78 | 9.75

## Microelements
| Zn |  | Fe |  | Mn |  | Cu
Sample No. | Absorbance | Concentration (mg/Kg) | Absorbance | Concentration (mg/Kg) | Absorbance | Concentration (mg/Kg) | Absorbance | Concentration (mg/Kg)
1 | 0.0675 | 1.27 | 0.1565 | 11.37 | 0.4518 | 18.01 | 0.2325 | 7.67
2 | 0.0515 | 0.97 | 0.1526 | 11.08 | 0.3848 | 15.34 | 0.1547 | 5.1
3 | 0.0208 | 0.39 | 0.1465 | 10.64 | 0.1914 | 7.63 | 0.1177 | 3.88
4 | 0.0101 | 0.19 | 0.082 | 5.96 | 0.8777 | 34.98 | 0.1415 | 4.67
5 | 0.0125 | 0.23 | 0.1249 | 9.07 | 0.8271 | 32.96 | 0.136 | 4.49
6 | 0.0942 | 1.77 | 0.1128 | 8.19 | 0.8312 | 33.12 | 0.1211 | 3.99
7 | 0.0772 | 1.45 | 0.1164 | 8.46 | 0.774 | 30.85 | 0.1194 | 3.94
8 | 0.0735 | 1.38 | 0.0625 | 4.54 | 0.5543 | 22.09 | 0.1243 | 4.1
9 | 0.08 | 1.5 | 0.0484 | 3.52 | 0.5506 | 21.94 | 0.2197 | 7.25
10 | 0.1175 | 2.2 | 0.0572 | 4.15 | 0.7706 | 30.71 | 0.1335 | 4.4
11 | 0.0677 | 1.27 | 0.0295 | 2.14 | 0.347 | 13.83 | 0.1113 | 3.67
12 | 0.0614 | 1.15 | 0.1318 | 9.57 | 0.2985 | 11.9 | 0.1252 | 4.13
13 | 0.0761 | 1.43 | 0.1336 | 9.7 | 0.2727 | 10.87 | 0.1197 | 3.95
14 | 0.0838 | 1.57 | 0.1254 | 9.11 | 0.1349 | 5.38 | 0.0963 | 3.18
15 | 0.1191 | 2.23 | 0.1265 | 9.19 | 0.1529 | 6.09 | 0.1468 | 4.84
16 | 0.0917 | 1.72 | 0.2246 | 16.31 | 0.2023 | 8.06 | 0.1064 | 3.51
17 | 0.0713 | 1.34 | 0.2467 | 17.92 | 0.2135 | 8.51 | 0.1912 | 6.31
18 | 0.0866 | 1.62 | 0.2052 | 14.91 | 0.1881 | 7.5 | 0.0876 | 2.89
19 | 0.1126 | 2.11 | 0.2314 | 16.81 | 0.1389 | 5.54 | 0.0901 | 2.97
20 | 0.1225 | 2.3 | 0.2132 | 15.49 | 0.1254 | 5 | 0.1791 | 5.91
21 | 0.071 | 1.33 | 0.2491 | 18.09 | 0.1279 | 5.1 | 0.0809 | 2.67
22 | 0.1136 | 2.13 | 0.2117 | 15.38 | 0.1079 | 4.3 | 0.097 | 3.2
23 | 0.075 | 1.41 | 0.2303 | 16.73 | 0.1512 | 6.03 | 0.0689 | 2.27
24 | 0.0637 | 1.2 | 0.2236 | 16.24 | 0.0634 | 2.53 | 0.1119 | 3.69
25 | 0.0836 | 1.57 | 0.2311 | 16.79 | 0.0621 | 2.47 | 0.1759 | 5.8
26 | 0.073 | 1.37 | 0.2161 | 15.7 | 0.0456 | 1.82 | 0.0529 | 1.74
27 | 0.0583 | 1.09 | 0.1965 | 14.27 | 0.0303 | 1.21 | 0.3757 | 12.39
28 | 0.0786 | 1.47 | 0.1874 | 13.61 | 1.1583 | 46.16 | 0.0243 | 0.8
29 | 0.0623 | 1.17 | 0.2452 | 17.81 | 1.1392 | 45.4 | 0.0201 | 0.66
30 | 0.0741 | 1.39 | 0.1769 | 12.85 | 1.0826 | 43.14 | 0.0327 | 1.08
31 | 0.0893 | 1.68 | 0.122 | 8.86 | 0.5513 | 21.97 | 0.919 | 30.31
32 | 0.0736 | 1.38 | 0.1135 | 8.24 | 0.5402 | 21.53 | 0.0807 | 2.66
33 | 0.0718 | 1.35 | 0.1269 | 9.22 | 0.5225 | 20.82 | 0.1102 | 3.64
34 | 0.0595 | 1.12 | 0.1132 | 8.22 | 0.5476 | 21.82 | 0.0822 | 2.71
35 | 0.0853 | 1.6 | 0.1205 | 8.75 | 0.5513 | 21.97 | 0.2027 | 6.69
36 | 0.0799 | 1.5 | 0.1103 | 8.01 | 0.5206 | 20.75 | 0.0856 | 2.82
37 | 0.0723 | 1.36 | 0.1177 | 8.55 | 0.491 | 19.57 | 0.1035 | 3.41
38 | 0.076 | 1.43 | 0.1221 | 8.87 | 0.532 | 21.2 | 0.3574 | 11.79
39 | 0.0453 | 0.85 | 0.1121 | 8.14 | 0.5084 | 20.26 | 0.1305 | 4.3
40 | 0.0424 | 0.8 | 0.1068 | 7.76 | 0.5338 | 21.27 | 0.0949 | 3.13
41 | 0.0602 | 1.13 | 0.1155 | 8.39 | 0.5748 | 22.91 | 0.1032 | 3.4
42 | 0.0528 | 0.99 | 0.0982 | 7.13 | 0.5102 | 20.33 | 0.1918 | 6.33
43 | 0.0573 | 1.08 | 0.1009 | 7.33 | 0.5384 | 21.46 | 0.0874 | 2.88
44 | 0.0546 | 1.02 | 0.0973 | 7.07 | 0.5025 | 20.03 | 0.1606 | 5.3
45 | 0.0525 | 0.99 | 0.0836 | 6.07 | 0.5299 | 21.12 | 0.0824 | 2.72
46 | 0.1129 | 2.12 | 0.1024 | 7.44 | 0.4848 | 19.32 | 0.1488 | 4.91
47 | 0.0572 | 1.07 | 0.1001 | 7.27 | 0.5486 | 21.86 | 0.3036 | 10.01
48 | 0.0524 | 0.98 | 0.0893 | 6.49 | 0.453 | 18.05 | 0.0997 | 3.29
49 | 0.0424 | 0.8 | 0.05 | 3.63 | 0.0018 | 0.07 | 0.002 | 0.07
50 | 0.0602 | 1.13 | 0.0929 | 6.75 | 0.4252 | 16.95 | 0.3271 | 10.79
51 | 0.1523 | 2.86 | 0.0882 | 6.41 | 0.4708 | 18.76 | 0.1269 | 4.19
52 | 0.0569 | 1.07 | 0.0826 | 6 | 0.434 | 17.3 | 0.0892 | 2.94
53 | 0.1052 | 1.97 | 0.076 | 5.52 | 0.4046 | 16.12 | 0.0793 | 2.62
54 | 0.0721 | 1.35 | 0.0729 | 5.3 | 0.4315 | 17.2 | 0.0708 | 2.34
55 | 0.0902 | 1.69 | 0.0873 | 6.34 | 0.407 | 16.22 | 0.0833 | 2.75
56 | 0.0732 | 1.37 | 0.0892 | 6.48 | 0.3697 | 14.73 | 0.0781 | 2.58
57 | 0.155 | 2.91 | 0.0814 | 5.91 | 0.4077 | 16.25 | 0.1403 | 4.63
58 | 0.0738 | 1.38 | 0.0777 | 5.64 | 0.3746 | 14.93 | 0.0837 | 2.76
59 | 0.1777 | 3.33 | 0.0911 | 6.62 | 0.4229 | 16.85 | 0.2913 | 9.61
60 | 0.0961 | 1.8 | 0.0807 | 5.86 | 0.3735 | 14.88 | 0.1011 | 3.33
61 | 0.0934 | 1.75 | 0.0845 | 6.14 | 0.5531 | 22.04 | 0.0748 | 2.47
62 | 0.0748 | 1.4 | 0.0969 | 7.04 | 0.5677 | 22.62 | 0.0854 | 2.82
63 | 0.0677 | 1.27 | 0.0714 | 5.19 | 0.4912 | 19.58 | 0.0594 | 1.96
64 | 0.055 | 1.03 | 0.0718 | 5.22 | 0.4866 | 19.39 | 0.0572 | 1.89
65 | 0.0853 | 1.6 | 0.0664 | 4.82 | 0.4965 | 19.79 | 0.0755 | 2.49
66 | 0.0632 | 1.19 | 0.0632 | 4.59 | 0.4724 | 18.83 | 0.0647 | 2.13
67 | 0.0565 | 1.06 | 0.1143 | 8.3 | 0.5263 | 20.97 | 0.0763 | 2.52
68 | 0.1136 | 2.13 | 0.0693 | 5.03 | 0.4986 | 19.87 | 0.0951 | 3.14
69 | 0.0811 | 1.52 | 0.0812 | 5.9 | 0.5363 | 21.37 | 0.144 | 4.75
70 | 0.0933 | 1.75 | 0.0879 | 6.38 | 0.5569 | 22.19 | 0.0968 | 3.19
71 | 0.0439 | 0.82 | 0.1392 | 10.11 | 0.5383 | 21.45 | 0.1152 | 3.8
72 | 0.0896 | 1.68 | 0.0796 | 5.78 | 0.4925 | 19.63 | 0.074 | 2.44
73 | 0.0416 | 0.78 | 0.0557 | 4.05 | 0.3225 | 12.85 | 0.0584 | 1.93
74 | 0.1169 | 2.19 | 0.096 | 6.97 | 0.5303 | 21.13 | 0.2464 | 8.13
75 | 0.0767 | 1.44 | 0.0744 | 5.4 | 0.5116 | 20.39 | 0.0782 | 2.58
76 | 0.0639 | 1.2 | 0.0947 | 6.88 | 0.4889 | 19.48 | 0.0651 | 2.15
77 | 0.085 | 1.59 | 0.0929 | 6.75 | 0.5124 | 20.42 | 0.0799 | 2.64
78 | 0.0672 | 1.26 | 0.0686 | 4.98 | 0.4789 | 19.09 | 0.0792 | 2.61
79 | 0.0766 | 1.44 | 0.0695 | 5.05 | 0.4702 | 18.74 | 0.061 | 2.01
80 | 0.083 | 1.56 | 0.0702 | 5.1 | 0.5303 | 21.13 | 0.1189 | 3.92
81 | 0.056 | 1.05 | 0.1186 | 8.61 | 0.5452 | 21.73 | 0.0896 | 2.96
82 | 0.0837 | 1.57 | 0.1153 | 8.38 | 0.5978 | 23.82 | 0.0885 | 2.92
83 | 0.0724 | 1.36 | 0.0662 | 4.81 | 0.4785 | 19.07 | 0.0649 | 2.14
84 | 0.0642 | 1.2 | 0.0903 | 6.56 | 0.5189 | 20.68 | 0.111 | 3.66
85 | 0.1103 | 2.07 | 0.1234 | 8.96 | 0.5508 | 21.95 | 0.1582 | 5.22
86 | 0.0863 | 1.62 | 0.0874 | 6.35 | 0.4936 | 19.67 | 0.0862 | 2.84
87 | 0.0793 | 1.49 | 0.1 | 7.26 | 0.3282 | 13.08 | 0.142 | 4.68
88 | 0.0709 | 1.33 | 0.0994 | 7.22 | 0.3329 | 13.27 | 0.0714 | 2.36
89 | 0.0574 | 1.08 | 0.1019 | 7.4 | 0.2975 | 11.86 | 0.0664 | 2.19
90 | 0.0633 | 1.19 | 0.0939 | 6.82 | 0.3041 | 12.12 | 0.0662 | 2.18
91 | 0.1386 | 2.6 | 0.1888 | 13.71 | 0.703 | 28.02 | 0.0604 | 1.99
92 | 0.1827 | 3.43 | 0.1646 | 11.96 | 0.6262 | 24.96 | 0.0545 | 1.8
93 | 0.0631 | 1.18 | 0.1418 | 10.3 | 0.5632 | 22.44 | 0.0591 | 1.95
94 | 0.0679 | 1.27 | 0.1519 | 11.03 | 0.5092 | 20.29 | 0.0621 | 2.05
95 | 0.0454 | 0.85 | 0.143 | 10.39 | 0.4424 | 17.63 | 0.0586 | 1.93
96 | 0.0447 | 0.84 | 0.1844 | 13.39 | 0.4695 | 18.71 | 0.065 | 2.14
97 | 0.0323 | 0.61 | 0.1651 | 11.99 | 0.4482 | 17.86 | 0.0535 | 1.76
98 | 0.0366 | 0.69 | 0.1639 | 11.91 | 0.8043 | 32.05 | 0.0576 | 1.9
99 | 0.0253 | 0.47 | 0.1791 | 13.01 | 0.8736 | 34.81 | 0.0572 | 1.89
100 | 0.0633 | 1.19 | 0.1212 | 8.8 | 0.6411 | 25.55 | 0.0496 | 1.64
101 | 0.0739 | 1.39 | 0.1528 | 11.1 | 0.8126 | 32.38 | 0.0545 | 1.8
102 | 0.0625 | 1.17 | 0.1315 | 9.55 | 0.6596 | 26.29 | 0.0431 | 1.42
103 | 0.0513 | 0.96 | 0.1368 | 9.94 | 0.692 | 27.58 | 0.0479 | 1.58
104 | 0.0652 | 1.22 | 0.1232 | 8.95 | 0.6789 | 27.06 | 0.051 | 1.68
105 | 0.0648 | 1.22 | 0.1341 | 9.74 | 0.6876 | 27.4 | 0.0513 | 1.69
106 | 0.0746 | 1.4 | 0.1315 | 9.55 | 0.76 | 30.29 | 0.0569 | 1.88
107 | 0.0476 | 0.89 | 0.1017 | 7.39 | 0.6153 | 24.52 | 0.0389 | 1.28
108 | 0.058 | 1.09 | 0.1115 | 8.1 | 0.6591 | 26.27 | 0.0382 | 1.26
109 | 0.059 | 1.11 | 0.1051 | 7.63 | 0.6391 | 25.47 | 0.0421 | 1.39
110 | 0.0681 | 1.28 | 0.147 | 10.68 | 0.6282 | 25.04 | 0.0419 | 1.38
111 | 0.0603 | 1.13 | 0.0855 | 6.21 | 0.6479 | 25.82 | 0.0397 | 1.31
112 | 0.0582 | 1.09 | 0.1014 | 7.37 | 0.6479 | 25.82 | 0.0366 | 1.21
113 | 0.0358 | 0.67 | 0.0764 | 5.55 | 0.5566 | 22.18 | 0.0404 | 1.33
114 | 0.0645 | 1.21 | 0.0975 | 7.08 | 0.6735 | 26.84 | 0.0283 | 0.93
115 | 0.0817 | 1.53 | 0.1071 | 7.78 | 0.6433 | 25.64 | 0.0276 | 0.91
116 | 0.1971 | 3.7 | 0.1009 | 7.33 | 0.6109 | 24.35 | 0.0957 | 3.16
117 | 0.0719 | 1.35 | 0.1058 | 7.69 | 0.6406 | 25.53 | 0.0857 | 2.83
118 | 0.0844 | 1.58 | 0.0938 | 6.81 | 0.5896 | 23.5 | 0.0891 | 2.94
119 | 0.0626 | 1.17 | 0.0833 | 6.05 | 0.5844 | 23.29 | 0.094 | 3.1
120 | 0.0581 | 1.09 | 0.0892 | 6.48 | 0.5463 | 21.77 | 0.0931 | 3.07
121 | 0.067 | 1.26 | 0.0193 | 1.4 | 1.0177 | 40.56 | 0.0357 | 1.18
122 | 0.0715 | 1.34 | 0.0713 | 5.18 | 1.0239 | 40.8 | 0.0232 | 0.77
123 | 0.0744 | 1.4 | 0.0444 | 3.23 | 1.0503 | 41.86 | 0.0138 | 0.46
124 | 0.0866 | 1.62 | 0.0167 | 1.21 | 1.0398 | 41.44 | 0.0155 | 0.51
125 | 0.0776 | 1.46 | 0.3297 | 23.95 | 1.0007 | 39.88 | 0.0818 | 2.7

## cumulative
Sample No. | pH | EC | OC | N | P | K | S | Zn | B | Fe | Mn | Cu
1 | 6.78 | 0.14 | 0.01 | 250.88 | 5.41 | 26.88 | 9.75 | 1.27 | 2.53 | 11.37 | 18.01 | 7.67
2 | 6.85 | 0.18 | 0.01 | 229.97 | 6.58 | 49.28 | 15.63 | 0.97 | 0.9 | 11.08 | 15.34 | 5.1
3 | 6.71 | 0.36 | 0.01 | 209.07 | 5.29 | 50.4 | 13 | 0.39 | 3.6 | 10.64 | 7.63 | 3.88
4 | 6.66 | 0.22 | 0.01 | 292.69 | 6.25 | 67.2 | 7.63 | 0.19 | 1.3 | 5.96 | 34.98 | 4.67
5 | 6.99 | 0.28 | 0.01 | 209.07 | 5.62 | 69.44 | 9.75 | 0.23 | 0.35 | 9.07 | 32.96 | 4.49
6 | 6.71 | 0.22 | 0.01 | 188.16 | 5.83 | 61.6 | 8.13 | 1.77 | 1.48 | 8.19 | 33.12 | 3.99
7 | 6.92 | 0.39 | 0.01 | 209.07 | 4.41 | 47.04 | 4.38 | 1.45 | 1.5 | 8.46 | 30.85 | 3.94
8 | 6.66 | 0.35 | 0.01 | 167.25 | 7.29 | 48.16 | 7.63 | 1.38 | 1.53 | 4.54 | 22.09 | 4.1
9 | 6.91 | 0.21 | 0.01 | 209.07 | 4.58 | 13.44 | 4.88 | 1.5 | 1.4 | 3.52 | 21.94 | 7.25
10 | 7.05 | 0.43 | 0.01 | 209.07 | 5.75 | 21.28 | 6.5 | 2.2 | 3.7 | 4.15 | 30.71 | 4.4
11 | 7.02 | 0.24 | 0.01 | 209.07 | 5.37 | 24.64 | 12.38 | 1.27 | 0.25 | 2.14 | 13.83 | 3.67
12 | 6.89 | 0.17 | 0.01 | 229.97 | 5.71 | 29.12 | 8.13 | 1.15 | 1.4 | 9.57 | 11.9 | 4.13
13 | 6.77 | 0.14 | 0.01 | 229.97 | 6.21 | 43.68 | 14 | 1.43 | 1.53 | 9.7 | 10.87 | 3.95
14 | 6.64 | 0.21 | 0.01 | 209.07 | 6.62 | 40.32 | 11.38 | 1.57 | 1.15 | 9.11 | 5.38 | 3.18
15 | 6.7 | 0.3 | 0.01 | 188.16 | 6.12 | 36.96 | 10.25 | 2.23 | 0.78 | 9.19 | 6.09 | 4.84
16 | 6.75 | 0.23 | 0.01 | 188.16 | 6.41 | 38.08 | 7.63 | 1.72 | 1 | 16.31 | 8.06 | 3.51
17 | 6.89 | 0.28 | 0.01 | 229.97 | 6.29 | 28 | 4.38 | 1.34 | 1.33 | 17.92 | 8.51 | 6.31
18 | 6.6 | 0.19 | 0.01 | 209.07 | 6.62 | 30.24 | 2.75 | 1.62 | 1.43 | 14.91 | 7.5 | 2.89
19 | 6.79 | 0.26 | 0.01 | 250.88 | 6.04 | 21.28 | 7.63 | 2.11 | 1.85 | 16.81 | 5.54 | 2.97
20 | 6.89 | 0.21 | 0.01 | 167.25 | 5.16 | 32.48 | 13.5 | 2.3 | 1.38 | 15.49 | 5 | 5.91
21 | 6.71 | 0.28 | 0.01 | 209.07 | 5.62 | 40.32 | 7.63 | 1.33 | 3.9 | 18.09 | 5.1 | 2.67
22 | 6.77 | 0.18 | 0.01 | 209.07 | 4.62 | 47.04 | 13.5 | 2.13 | 2.3 | 15.38 | 4.3 | 3.2
23 | 6.73 | 0.26 | 0.01 | 209.07 | 4.33 | 66.08 | 13 | 1.41 | 1.65 | 16.73 | 6.03 | 2.27
24 | 6.67 | 0.22 | 0.01 | 229.97 | 4.75 | 57.12 | 7.63 | 1.2 | 1.38 | 16.24 | 2.53 | 3.69
25 | 6.81 | 0.22 | 0.01 | 271.79 | 6.37 | 58.24 | 9.25 | 1.57 | 1.4 | 16.79 | 2.47 | 5.8
26 | 6.94 | 0.28 | 0.01 | 209.07 | 5.87 | 35.84 | 6.5 | 1.37 | 1.48 | 15.7 | 1.82 | 1.74
27 | 6.95 | 0.2 | 0.01 | 209.07 | 4.25 | 34.72 | 7 | 1.09 | 1.53 | 14.27 | 1.21 | 12.39
28 | 6.78 | 0.29 | 0.01 | 188.16 | 5.5 | 35.84 | 9.75 | 1.47 | 1.85 | 13.61 | 46.16 | 0.8
29 | 6.83 | 0.21 | 0.01 | 250.88 | 6.29 | 36.96 | 11.38 | 1.17 | 1.48 | 17.81 | 45.4 | 0.66
30 | 6.98 | 0.33 | 0.01 | 188.16 | 5.16 | 38.08 | 9.25 | 1.39 | 0.78 | 12.85 | 43.14 | 1.08
31 | 6.71 | 0.67 | 0.01 | 146.35 | 5.08 | 39.2 | 11.88 | 1.68 | 1.43 | 8.86 | 21.97 | 30.31
32 | 6.46 | 0.27 | 0.01 | 209.07 | 5.5 | 41.44 | 13 | 1.38 | 1.5 | 8.24 | 21.53 | 2.66
33 | 6.58 | 0.26 | 0.01 | 209.07 | 5.5 | 42.56 | 7.63 | 1.35 | 1.38 | 9.22 | 20.82 | 3.64
34 | 6.52 | 0.31 | 0.01 | 188.16 | 5.33 | 43.68 | 7.63 | 1.12 | 1.4 | 8.22 | 21.82 | 2.71
35 | 6.84 | 0.23 | 0.01 | 250.88 | 6.25 | 41.44 | 16.25 | 1.6 | 1.5 | 8.75 | 21.97 | 6.69
36 | 6.56 | 0.21 | 0.01 | 167.25 | 5.12 | 42.56 | 7.63 | 1.5 | 1.48 | 8.01 | 20.75 | 2.82
37 | 6.42 | 0.2 | 0.01 | 167.25 | 5.75 | 43.68 | 7.63 | 1.36 | 1.73 | 8.55 | 19.57 | 3.41
38 | 6.45 | 0.22 | 0.01 | 167.25 | 6.66 | 44.8 | 13.5 | 1.43 | 1.28 | 8.87 | 21.2 | 11.79
39 | 6.59 | 0.21 | 0.01 | 229.97 | 7.66 | 50.4 | 9.75 | 0.85 | 1.28 | 8.14 | 20.26 | 4.3
40 | 6.87 | 0.2 | 0.01 | 209.07 | 5.58 | 45.92 | 3.75 | 0.8 | 1.43 | 7.76 | 21.27 | 3.13
41 | 6.88 | 0.31 | 0.01 | 188.16 | 5.91 | 45.92 | 2.13 | 1.13 | 1.45 | 8.39 | 22.91 | 3.4
42 | 6.98 | 0.32 | 0.01 | 209.07 | 5.46 | 51.52 | 2.75 | 0.99 | 1.35 | 7.13 | 20.33 | 6.33
43 | 6.75 | 0.17 | 0.01 | 229.97 | 4.29 | 31.36 | 2.13 | 1.08 | 1.4 | 7.33 | 21.46 | 2.88
44 | 6.41 | 0.17 | 0.01 | 167.25 | 5.33 | 32.48 | 1.13 | 1.02 | 1.68 | 7.07 | 20.03 | 5.3
45 | 6.66 | 0.24 | 0.01 | 146.35 | 5.75 | 16.8 | 2.13 | 0.99 | 1.88 | 6.07 | 21.12 | 2.72
46 | 6.73 | 0.3 | 0.01 | 209.07 | 5.37 | 29.12 | 9.75 | 2.12 | 1.25 | 7.44 | 19.32 | 4.91
47 | 6.75 | 0.23 | 0.01 | 188.16 | 5.04 | 35.84 | 6.5 | 1.07 | 1.35 | 7.27 | 21.86 | 10.01
48 | 6.84 | 0.3 | 0.01 | 188.16 | 4.75 | 19.04 | 7 | 0.98 | 1.45 | 6.49 | 18.05 | 3.29
49 | 6.88 | 0.28 | 0.01 | 209.07 | 5.58 | 36.96 | 6 | 0.8 | 2.25 | 3.63 | 0.07 | 0.07
50 | 6.38 | 0.23 | 0.01 | 209.07 | 4.87 | 21.28 | 8.13 | 1.13 | 1.33 | 6.75 | 16.95 | 10.79
51 | 6.93 | 0.17 | 0.01 | 229.97 | 3.5 | 42.56 | 8.63 | 2.86 | 2.13 | 6.41 | 18.76 | 4.19
52 | 6.9 | 0.27 | 0.01 | 229.97 | 3.21 | 24.64 | 9.75 | 1.07 | 4.6 | 6 | 17.3 | 2.94
53 | 6.44 | 0.12 | 0.01 | 209.07 | 3.21 | 29.12 | 10.25 | 1.97 | 0.05 | 5.52 | 16.12 | 2.62
54 | 7.4 | 0.12 | 0.04 | 229.97 | 1 | 30.24 | 13 | 1.35 | 0.05 | 5.3 | 17.2 | 2.34
55 | 7.58 | 0.33 | 0.03 | 209.07 | 1.79 | 54.88 | 13.5 | 1.69 | 2.5 | 6.34 | 16.22 | 2.75
56 | 6.56 | 0.12 | 0.02 | 250.88 | 0.5 | 62.72 | 9.25 | 1.37 | 0.8 | 6.48 | 14.73 | 2.58
57 | 3.22 | 0.4 | 0.02 | 188.16 | 3.71 | 68.32 | 14 | 2.91 | 2.68 | 5.91 | 16.25 | 4.63
58 | 6.56 | 0.16 | 0.02 | 125.44 | 3.46 | 20.16 | 9.75 | 1.38 | 1.48 | 5.64 | 14.93 | 2.76
59 | 7.02 | 0.17 | 0.01 | 62.72 | 3.83 | 76.16 | 13.5 | 3.33 | 2.58 | 6.62 | 16.85 | 9.61
60 | 4.36 | 0.26 | 0.01 | 83.63 | 3.21 | 19.04 | 6 | 1.8 | 4.18 | 5.86 | 14.88 | 3.33
61 | 7.02 | 0.14 | 0.01 | 250.88 | 3.62 | 76.16 | 13 | 1.75 | 3.53 | 6.14 | 22.04 | 2.47
62 | 3.92 | 0.36 | 0.01 | 250.88 | 3.33 | 43.68 | 9.75 | 1.4 | 3.88 | 7.04 | 22.62 | 2.82
63 | 7.55 | 0.12 | 0.01 | 209.07 | 0.58 | 53.76 | 10.25 | 1.27 | 1.38 | 5.19 | 19.58 | 1.96
64 | 7.06 | 0.25 | 0.01 | 209.07 | 3.5 | 63.84 | 9.75 | 1.03 | 4.23 | 5.22 | 19.39 | 1.89
65 | 6.81 | 0.52 | 0.01 | 209.07 | 3.75 | 69.44 | 9.75 | 1.6 | 2.48 | 4.82 | 19.79 | 2.49
66 | 6.69 | 0.27 | 0.08 | 209.07 | 3.41 | 16.8 | 8.63 | 1.19 | 1.68 | 4.59 | 18.83 | 2.13
67 | 6.48 | 0.36 | 0.02 | 209.07 | 3.66 | 28 | 8.63 | 1.06 | 2.4 | 8.3 | 20.97 | 2.52
68 | 6.71 | 0.28 | 0.02 | 62.72 | 3.75 | 32.48 | 8.63 | 2.13 | 2.35 | 5.03 | 19.87 | 3.14
69 | 8.46 | 0.11 | 0.01 | 209.07 | 3.75 | 40.32 | 8.63 | 1.52 | 1.4 | 5.9 | 21.37 | 4.75
70 | 6.99 | 0.25 | 0.01 | 188.16 | 3.17 | 45.92 | 9.25 | 1.75 | 3.73 | 6.38 | 22.19 | 3.19
71 | 6.9 | 0.26 | 0.01 | 209.07 | 3.33 | 36.96 | 10.25 | 0.82 | 1.73 | 10.11 | 21.45 | 3.8
72 | 7.26 | 0.14 | 0.05 | 209.07 | 1.21 | 49.28 | 13 | 1.68 | 1.43 | 5.78 | 19.63 | 2.44
73 | 7.81 | 0.12 | 0.02 | 209.07 | 1.87 | 64.96 | 11.88 | 0.78 | 0.75 | 4.05 | 12.85 | 1.93
74 | 6.81 | 0.34 | 0.01 | 209.07 | 3.5 | 32.48 | 11.38 | 2.19 | 2.28 | 6.97 | 21.13 | 8.13
75 | 6.51 | 0.21 | 0.01 | 209.07 | 4.08 | 40.32 | 4.38 | 1.44 | 2.45 | 5.4 | 20.39 | 2.58
76 | 6.61 | 0.16 | 0.02 | 209.07 | 3.58 | 22.4 | 8.13 | 1.2 | 1.33 | 6.88 | 19.48 | 2.15
77 | 5.23 | 1.44 | 0.02 | 209.07 | 3.46 | 26.88 | 6.5 | 1.59 | 2.6 | 6.75 | 20.42 | 2.64
78 | 6.53 | 0.22 | 0.05 | 209.07 | 3.12 | 41.44 | 7.63 | 1.26 | 1.33 | 4.98 | 19.09 | 2.61
79 | 5.44 | 0.3 | 0.07 | 209.07 | 0.46 | 20.16 | 10.25 | 1.44 | 1.43 | 5.05 | 18.74 | 2.01
80 | 5.72 | 0.64 | 0.02 | 209.07 | 3.58 | 39.2 | 12.38 | 1.56 | 2.65 | 5.1 | 21.13 | 3.92
81 | 6.43 | 0.11 | 0.01 | 209.07 | 0.12 | 29.12 | 13 | 1.05 | 3 | 8.61 | 21.73 | 2.96
82 | 5.67 | 0.28 | 0.03 | 209.07 | 3.54 | 30.24 | 4.88 | 1.57 | 2.35 | 8.38 | 23.82 | 2.92
83 | 6.65 | 0.11 | 0.03 | 209.07 | 0.67 | 47.04 | 5.38 | 1.36 | 1.03 | 4.81 | 19.07 | 2.14
84 | 6.93 | 0.47 | 0.05 | 229.97 | 3.62 | 51.52 | 6 | 1.2 | 2.48 | 6.56 | 20.68 | 3.66
85 | 6.63 | 0.14 | 0.03 | 188.16 | 3.46 | 12.32 | 8.13 | 2.07 | 1.5 | 8.96 | 21.95 | 5.22
86 | 6.86 | 0.22 | 0.01 | 167.25 | 14.24 | 20.16 | 1.13 | 1.62 | 2.48 | 6.35 | 19.67 | 2.84
87 | 7.17 | 0.15 | 0.01 | 229.97 | 4.83 | 31.36 | 4.38 | 1.49 | 2.8 | 7.26 | 13.08 | 4.68
88 | 7.33 | 0.39 | 0.01 | 188.16 | 3.62 | 24.64 | 13 | 1.33 | 2.13 | 7.22 | 13.27 | 2.36
89 | 6.91 | 0.2 | 0.01 | 188.16 | 15.12 | 38.08 | 8.63 | 1.08 | 3.05 | 7.4 | 11.86 | 2.19
90 | 6.81 | 0.21 | 0.01 | 250.88 | 0.75 | 42.56 | 9.75 | 1.19 | 2.23 | 6.82 | 12.12 | 2.18
91 | 6.78 | 0.16 | 0.01 | 250.88 | 1.33 | 54.88 | 13.5 | 2.6 | 2.05 | 13.71 | 28.02 | 1.99
92 | 6.83 | 0.16 | 0.01 | 250.88 | 6.12 | 49.28 | 7.63 | 3.43 | 3.33 | 11.96 | 24.96 | 1.8
93 | 6.17 | 0.13 | 0.01 | 209.07 | 6.33 | 32.48 | 8.13 | 1.18 | 2.4 | 10.3 | 22.44 | 1.95
94 | 6.56 | 0.14 | 0.01 | 167.25 | 5.25 | 39.2 | 8.63 | 1.27 | 2.13 | 11.03 | 20.29 | 2.05
95 | 6.98 | 0.13 | 0.01 | 167.25 | 13.95 | 41.44 | 8.13 | 0.85 | 3.3 | 10.39 | 17.63 | 1.93
96 | 6.95 | 0.22 | 0.01 | 167.25 | 13.58 | 21.28 | 7.63 | 0.84 | 2.3 | 13.39 | 18.71 | 2.14
97 | 7.36 | 0.23 | 0.01 | 188.16 | 16.62 | 62.72 | 8.63 | 0.61 | 2.63 | 11.99 | 17.86 | 1.76
98 | 6.97 | 0.14 | 0.01 | 209.07 | 3.96 | 45.92 | 8.13 | 0.69 | 2.53 | 11.91 | 32.05 | 1.9
99 | 6.63 | 0.12 | 0.01 | 209.07 | 4.41 | 59.36 | 8.63 | 0.47 | 1.85 | 13.01 | 34.81 | 1.89
100 | 6.82 | 0.14 | 0.01 | 229.97 | 2.29 | 24.64 | 9.25 | 1.19 | 1.98 | 8.8 | 25.55 | 1.64
101 | 7.31 | 0.18 | 0.01 | 229.97 | 4.08 | 36.96 | 9.25 | 1.39 | 2.33 | 11.1 | 32.38 | 1.8
102 | 6.88 | 0.2 | 0.01 | 209.07 | 1.79 | 57.12 | 10.25 | 1.17 | 2.33 | 9.55 | 26.29 | 1.42
103 | 6.75 | 0.18 | 0.01 | 209.07 | 1.04 | 23.52 | 8.63 | 0.96 | 2.03 | 9.94 | 27.58 | 1.58
104 | 9.34 | 0.38 | 0.01 | 188.16 | 15.53 | 26.88 | 13 | 1.22 | 2.98 | 8.95 | 27.06 | 1.68
105 | 6.77 | 0.2 | 0.01 | 229.97 | 18.74 | 47.04 | 13 | 1.22 | 1.95 | 9.74 | 27.4 | 1.69
106 | 6.87 | 0.19 | 0.01 | 209.07 | 5.25 | 36.96 | 11.38 | 1.4 | 1.98 | 9.55 | 30.29 | 1.88
107 | 6.84 | 0.16 | 0.01 | 188.16 | 5.62 | 38.08 | 7.63 | 0.89 | 2.65 | 7.39 | 24.52 | 1.28
108 | 6.86 | 0.19 | 0.01 | 229.97 | 5.37 | 60.48 | 8.13 | 1.09 | 2.45 | 8.1 | 26.27 | 1.26
109 | 7.36 | 0.2 | 0.02 | 167.25 | 16.87 | 61.6 | 6.5 | 1.11 | 2.4 | 7.63 | 25.47 | 1.39
110 | 4.09 | 0.26 | 0.01 | 229.97 | 4.33 | 51.52 | 8.13 | 1.28 | 2.28 | 10.68 | 25.04 | 1.38
111 | 7.27 | 0.25 | 0.01 | 229.97 | 4 | 42.56 | 8.63 | 1.13 | 2.38 | 6.21 | 25.82 | 1.31
112 | 7.04 | 0.17 | 0.01 | 209.07 | 3.58 | 69.44 | 7.63 | 1.09 | 2.78 | 7.37 | 25.82 | 1.21
113 | 6.88 | 0.16 | 0.01 | 146.35 | 5.83 | 21.28 | 8.63 | 0.67 | 1.43 | 5.55 | 22.18 | 1.33
114 | 7.01 | 0.15 | 0.01 | 229.97 | 3.5 | 32.48 | 4.88 | 1.21 | 2.25 | 7.08 | 26.84 | 0.93
115 | 6.54 | 0.22 | 0.01 | 209.07 | 4.04 | 35.84 | 4.38 | 1.53 | 3.68 | 7.78 | 25.64 | 0.91
116 | 7.43 | 0.29 | 0.01 | 209.07 | 5.12 | 43.68 | 7.63 | 3.7 | 3.03 | 7.33 | 24.35 | 3.16
117 | 7.04 | 0.14 | 0.01 | 188.16 | 5.16 | 49.28 | 7.63 | 1.35 | 3.03 | 7.69 | 25.53 | 2.83
118 | 7.4 | 0.3 | 0.01 | 229.97 | 6.12 | 30.24 | 8.63 | 1.58 | 2.58 | 6.81 | 23.5 | 2.94
119 | 7.29 | 0.18 | 0.01 | 229.97 | 4.62 | 34.72 | 10.25 | 1.17 | 1.9 | 6.05 | 23.29 | 3.1
120 | 6.47 | 0.23 | 0.01 | 209.07 | 5.16 | 43.68 | 11.38 | 1.09 | 2.38 | 6.48 | 21.77 | 3.07
121 | 6.69 | 0.23 | 0.01 | 209.07 | 5.5 | 44.8 | 10.88 | 1.26 | 2 | 1.4 | 40.56 | 1.18
122 | 7.15 | 0.19 | 0.01 | 229.97 | 4.96 | 45.92 | 12.38 | 1.34 | 2.23 | 5.18 | 40.8 | 0.77
123 | 6.96 | 0.16 | 0.02 | 146.35 | 11.74 | 40.32 | 7.63 | 1.4 | 2.18 | 3.23 | 41.86 | 0.46
124 | 9.46 | 0.78 | 0.01 | 229.97 | 5.54 | 38.08 | 8.13 | 1.62 | 2.23 | 1.21 | 41.44 | 0.51
125 | 7.95 | 0.23 | 0.02 | 209.07 | 14.24 | 39.2 | 9.75 | 1.46 | 2.2 | 23.95 | 39.88 | 2.7